**Appendix 7: Operational notifications**

Prior to connection of the generating facility, the following documents must be issued in the following order: energisation operational notification, interim operational notification and final operational notification. Prior to each notification, the Facility Owner must submit documentation that the facility complies with a number of technical requirements.

Issued operational notifications must be attached to this appendix.

|  |
| --- |
| **Energisation operational notification (EON)** |
| Project name FORMTEXT Project name |
| Facility OwnerName: NameAddress: AddressTel. no.: Tel. no.Email: email |
| Facility informationFacility address: AddressGSRN: No. |
| **Documents which must be available and approved before a notification can be issued*** List of agreed protection mechanisms and relay settings for the point of connection between the Facility Owner and the Distribution System Operator.
 |
| Date of issue |
| Date of expiry*To be determined by the Distribution System Operator* |
| Distribution System Operator’s signature |

|  |
| --- |
| **Interim operational notification (ION)** |
| Project name |
| Facility OwnerName: NameAddress: AddressTel. no.: Tel. no.Email: email |
| Facility informationFacility address: AddressGSRN: No. |
| **Documents which must be available and approved before a notification can be issued*** Completed appendix B1.1/B2.1, with technical documentation.
 |
| Date of issue |
| Date of expiry*To be determined by the Distribution System Operator, may not exceed 24 months from the date of issue.* An extension may be granted if requested by the relevant system operator. |
| Distribution System Operator’s signature |

|  |
| --- |
| **Final operational notification (FON)** |
| Project name |
| Facility OwnerName: NameAddress: AddressTel. no.: Tel. no.Email: email |
| Facility informationFacility address: AddressGSRN: No. |
| **Documents which must be available and approved before a notification can be issued*** Appendix B1.2/B2.2 complete with technical documentation in support of the answers given.
* Detailed declaration of conformity.
* Update of existing technical information, simulation models and studies.
 |
| Date of issue |
| Distribution System Operator’s signature |